## Slide 1: Course No : EEE 414 Course Title : Electrical Service Design
Presented by: 1906XXX
Md. Ashiqul Haider Chowdhury | 1806086
Fazle Rabbi | 1806087
Md. Ayenul Azim Jahin | 1806089
Indrojit Sarkar | 1806090
Md. Wazih Yeaser Tanzim | 1806079
Abdul Mumin Redhowan | 1806073

## Slide 2: Design Steps
Architectural Floor Planning for a Six-Stored Building
Integration of Fittings and Fixtures on Each Floor
Strategic Conduit Layout Planning for Each Floor
Elaborate Switchboard and Distribution Board Diagrams
Thorough Design of Lightning Protection System (LPS)
Presented by: 1906XXX

## Slide 3: Layout of 6 storied building:
Presented by: 1906XXX
Fig: Layout of first floor​

## Slide 4: Layout of 6 storied building:
Presented by: 1906XXX
Fig: Layout of first floor​

## Slide 5: Layout of 6 storied building:
Presented by: 1906XXX
Fig: Layout of first floor​

## Slide 6: Layout of 6 storied building:
Presented by: 1906XXX
Fig: Layout of first floor​

## Slide 7: Calculation
Presented by: 1906XXX
Utilization Factor
Mounting height = Luminaire height – Work plane height = 9 ft – 3 ft = 6 ft = 1.828 meter
We also need to know the surface reflectance of ceiling (C), wall (W) and floor
Typically, they are chosen as C = 0.7, W = 0.5 and F = 0.2.

## Slide 8: Calculation
Presented by: 1906XXX
Room length = L (in meters) Room width = W (in meters) N = Number of lights required E = Luminance level required (lux). F = Average luminous flux from each light source (lumen) UF = Utilization factor MF = Maintenance factor
Light Requirement

## Slide 9: Calculation
Presented by: 1906XXX

## Slide 10: Calculation
Presented by: 1906XXX
Fan Requirement

## Slide 11: Fittings with conduit connection of Appartment
Presented by: 1906XXX
Fig: Layout of 1st & 2nd appartment​

## Slide 12: Fittings with conduit connection of Appartment
Presented by: 1906XXX
Fig: Layout of 3rd appartment​

## Slide 13: Fittings with conduit connection of Appartment
Presented by: 1906XXX
Fig: Layout of 4th appartment​

## Slide 14: Complete layout with fitting with SDB
Presented by: 1906XXX
Fig: Layout of first floor​ with SDB

## Slide 15: Complete layout with fitting with ESDB
Presented by: 1906XXX
Fig: Layout of first floor with ESDB​

## Slide 16: Conduit Layout Planning
Presented by: 1906XXX
Fig: Layout of Ground floor​

## Slide 17: Conduit Layout Planning
Presented by: 1906XXX
Fig: Layout of Basement​

## Slide 18: Calculations for Main Distribution Boards
Presented by: 1906XXX
​ (1)EMDB​ 8 person Elevator Load=5000W​ 𝐼 =​ 5000​ 3 × 220 × .7 = 10.822𝐴​ So, 15A SP MCCB is needed from Elevator to EMDB​
Total Load = (336+(658+658+658+658) ⨯ 5+266+5000)⨯ 0.7W​ = 13134 W​
EMDB Current, 𝐼 = 28.4286𝐴
So, 30A TP MCCB is needed from MDB TO EMDB​
A 15kW or 20 KVA Generator is used to supply the EMDB load through an ATS.Generator room​, dimension will be 25 sqm.​

## Slide 19: Calculations for Main Distribution Boards
Presented by: 1906XXX
(2)MDB Total SDB Load = ( 9750⨯20+560+770) W = 196330 W Pump Load = 2500 W MDB Load = Total SDB Load ⨯ 0.7 + ( EMDB Load + Pump Load ) ⨯ 0.7 = 196330 ⨯ 0.7 + ( 13134+112+ 2500 ) ⨯ 0.7 W = 148453 W MDB Current, 𝐼 = 148453/(220×.7) = 321.3272𝐴 So, 400A TP MCCB is needed from Main Line to MDB.

## Slide 20: Calculation of PFI Plant
Presented by: 1906XXX
Cosx = 0.7 Sinx = 0.714 Q= 3VIsinx = ptanx = 151.422 kVar I = Q/3Vsinx = 482 A So, 500A TP MCCB is req. from PFIto MDB
Calculations for Transformer
S= VI = 220*321.3272 A = 212.075 kVA So, 11/0.415 kV, 50 Hz, 300 kVA, DYN 11, Oil Immersed Transformer with 4- 6% impedence is needed. Transformer room dimension will be 48 sqm.

## Slide 21: Switchboard Diagram Apt 1
Presented by: 1906XXX
​

## Slide 22: Switchboard Diagram Apt 1
Presented by: 1906XXX

## Slide 23: Switchboard Diagram Apt 2
Presented by: 1906XXX

## Slide 24: Switchboard Diagram Apt 2
Presented by: 1906XXX

## Slide 25: Switchboard Diagram Apt 3
Presented by: 1906XXX

## Slide 26: Switchboard Diagram Apt 3
Presented by: 1906XXX

## Slide 27: Switchboard Diagram Apt 4
Presented by: 1906XXX

## Slide 28: Switchboard Diagram Apt 4
Presented by: 1906XXX

## Slide 29: SDB diagram
Presented by: 1906XXX

## Slide 30
Presented by: 1906XXX

## Slide 31
Presented by: 1906XXX
Lighting Protection System:
Total area=313 sqm
Length=90ft
Width=40ft
Lighting arrestor in length =(90/25)
=4
Lighting arrestor in length =(40/25)
=2
Earth down conductor =1(for 80 sqm)+(313-80)/100
=1+3
=4

## Slide 32: Lightning arrestor at rooftop
Presented by: 1906XXX
Fig: Layout of first floor​

## Slide 33
Presented by: 1906XXX
Thank you